PART A: INFORMATION FOR THE TENDERER

Name and address of the contracting authority: Provincial Secretariat for Urban Planning and Environmental Protection, Bulevar Mihajla Pupina 16, 21201 Novi Sad, Republic of Serbia Title of the tender: Procurement of reagents, consumables, and software for laboratory analyses for project Green-Path Reference number: RORS00127-PP2 - TD06 Date of launching: 16/05/2025

- INFORMATION ON SUBMISSION OF THE TENDERS

Subject of the contract:

The subject of this tender is:

- Procurement of reagents, consumables, and software for laboratory analyses for project Green-Path;

Deadline for submission of the tenders:

The deadline for submission of tenders is 26/05/2025 at 13:00 hours. Any tender received after this deadline will be automatically rejected.

* - The tenderer should have minimum 7 days from the date of launching of the procurement procedure for preparation of the offer (excluding the day of publishing and the date of submission deadline).

** - The Contracting Authority is obliged to provide answer to all questions received no later then 3 days before the deadline and has to publish them on the same web sites where the tender was published.

Currency

Tenders must be presented in RSD with VAT included.

Note:

In accordance with IPA implementing regulation, for all partners VAT can be an eligible expenditure. The Contracting Authority will pay the unit prices, as stated in the Financial Offer, and will pay the VAT if the VAT is eligible and is clearly identified on the invoices.

For this contract VAT is eligible cost.

In case when the offers are submitted in National currency, the exchange rate to be used for checking financial compliance with available budget (during financial evaluation), shall be InforEuro exchange rate for the month when the tender is launched.

Award criteria:

- The sole award criterion will be the price. The contract will be awarded to the lowest compliant tender.

In case that one offer is received, the Contracting Authority shall check whether the offer is administratively and technically compliant with the requirements set by this tender documentation and financial offer is within the available budget.

Variant solutions will not be taken into consideration.

Award notification

The successful tenderer will be informed of the results of the evaluation procedure in written form.

Contract award notice will be published on the programme website. The estimated time of communication publishing of results to the tenderers is 7 days after the date of contract signature.

Address and meanings for submission of the tenders:

The tenderers will submit their tenders using the standard submission form available in the “Part B: Format of offer to be provided by the tenderer” of the tender dossier. The tender will be submitted in 1 original. Any tenders not using the prescribed form may be rejected by the contracting authority.

In addition to the offer the tenderer is required to provide the following supporting documentation:

- Copy of legal registration (only if  not publicly available from the Serbian Business Register Agency website)

The tenders will be submitted in a sealed envelope, containing the following information:

- Name and address of the tenderer

- Title of the tender: Procurement of reagents, consumables, and software for laboratory analyses for project Green-Path

- Reference number: RORS00127-PP2 - TD06

- The words: “Not to be opened before the tender opening session” (and “Ne otvarati pre sastanka za otvaranje ponuda”)

The tenders will be submitted in person, by post or courier service to the following address:

The Provincial Secretariat for Urban Planning and Environmental Protection

Bulevar Mihajla Pupina, 16, 21101 Novi Sad

The tenderers are reminded that in order to be eligible the tenders need to be received by the Contracting Authority by the deadline indicated above.

- TECHNICAL INFORMATION

The tenderers are required to provide supplies as indicated below. In the tenderer’s technical offer, the tenderers might indicate more details on the deliveries, including brand names if applicable, referring back to the below table.

| No. | Number of items | Title of item | Technical specifications |
| --- | --- | --- | --- |
| Supplies |  |  |  |
|  |  | Reagents |  |
| 1.1.1 | 1 | Test tubes for the determination of Copper | range: Copper - 0.10–7.00 mg/L Cu²⁺; method Copper – Cuprizone (20a) |
| 1.1.2 | 1 | Test tubes for the determination of Zinc | range: 0.10–4.00 mg/L Zn²⁺; Test no. 0-96; method- Zinc – Zincon; (20a) |
| 1.1.3 | 1 | Test tubes for the determination of Total-Chromium, Chromium / Chromate | range: 0.05–2.00 mg/L C; range sensitive: 0.005–0.500 mg/L C; method- Chromium – Carbazide; (20a) |
| 1.1.4 | 1 | Test tubes for the determination of Molybdenum | range: 1–40.0 mg/L Mo(VI), range 2: 1.6–65.0 mg/L MoO₄²⁻; Method: Molybdenum - Thioglycolic acid; (20a) |
| 1.1.5 | 1 | Test tubes for the determination of Iron | range: 0.10–3.00 mg/L Fe, sensitive range: 0.02–1.00 mg/L Fe; method: Iron – Diphenylpyridyltriazine; (20a) |
| 1.1.6 | 1 | Test tubes for the determination of Manganese | range: 0.1–10.0 mg/L Mn; range sensitive: 0.02–2.00 mg/L Mn; method- Manganese – Formaldoxime (20a) |
| 1.1.7 | 1 | Colorimetric test kits for determination of Chlorine (free), Chlorine (total) | range Chlorine (free) - 0.05–2.00 mg/L Cl₂ , Chlorine (total) - 0.05–2.00 mg/L Cl₂ (150a) |
| 1.1.8 | 1 | Test tubes for determination of COD | range: 15–160 mg/L O₂; (In accordance with ISO 15705); method- Potassium dichromate (20a) |
| 1.1.9 | 1 | Test tubes for determination of COD | range: 20–1500 mg/L O₂; (In accordance with ISO 15705); method- Potassium dichromate (20a) |
| 1.1.10 | 1 | Test tubes for determination of BOD₅ | range: 0.5–3000 mg/L O₂; (Analogous to DIN EN 1899-1 – H51 + DIN EN 25813 – G 21); Method -BOD5-winkler (22a) |
| 1.1.11 | 1 | Test tubes for determination of Ammonium | range: 4–80 mg/L NH₄-N; range 2: 5–100 mg/L NH₄⁺; (In accordance to ISO 7150-1); method- Ammonium – Indophenol (20a) |
| 1.1.12 | 1 | Test tubes for determination of Ammonium | range: 30–160 mg/L NH₄-N, Ammonium - 40–200 mg/L NH₄⁺; (In accordance to ISO 7150-1); method- Ammonium – Indophenol (20a) |
| 1.1.13 | 1 | Test tubes for determination of Nitrite | range: 0.003–0.460 mg/L NO₂-N, Nitrite - 0.02–1.50 mg/L NO₂⁻; (In accordance with ISO 6777); method- Nitrite - Sulfanilic acid/1 –naphthylamine (20a) |
| 1.1.14 | 1 | Test tubes for determination of Nitrite | range: 0.1–4.0 mg/L NO₂-N, range 2: 0.3–13.0 mg/L NO₂⁻; (In accordance with ISO 6777); method- Nitrite - Sulfanilic acid/1 –naphthylamine (20a) |
| 1.1.15 | 1 | Test tubes for determination of Nitrate | range: 4–60 mg/L NO₃-N; range 2: 20–250 mg/L NO₃⁻; (In accordance to ISO 7890-1); method- Nitrate - 2, 6 –Dimethylphenol (20a) |
| 1.1.16 | 1 | Test tubes for determination of Nitrate | 0.3–22.0 mg/L NO₃-N, Nitrate - 2–100 mg/L NO₃⁻ (In accordance to ISO 7890-1); method- Nitrate - 2, 6 –Dimethylphenol (20a) |
| 1.1.17 | 1 | Test tubes for determination of Phenols | range: 0.2–5.0 mg/L Phenol; method- Phenols - 4 –Aminoantipyrine; (20a) |
| 1.1.18 | 1 | Test tubes for determination of Sulfide | range: 0.05–3.00 mg/L S²⁻; method- Sulfide - Methylene blue; (20a) |
| 1.1.19 | 1 | Test tubes for determination of Sulfate | range: 200–1000 mg/L SO₄²⁻; method- Sulfate - Barium sulfate (Turbidity); (20a) |
| 1.1.20 | 1 | Test tubes for determination of AOX | range: 0.1–3.0 mg/L AOX, range 2: 0.01–0.30 mg/L AOX; method- AOX – Mercury (II) -thiocyanate/Iron (III)– nitrate; (20a) |
| 1.1.21 | 1 | Starter set for AOX | consists of tweezers, funnel, cartridge adaptor, beaker, glass rods, 1-liter bottle and syringes. (1 set) |
| 1.1.22 | 1 | Supplement kit for AOX 3 | for the sensitive AOX range (0.01–0.30 mg/L AOX) as well as for higher COD values (required above 50 mg/L COD). (2x4g) |
| 1.1.23 | 3 | Test tubes for determination of TOC | range: 2.0–30.0 mg/L C; method- TOC – Indicator (20a) |
| 1.1.24 | 1 | Test tubes for determination of Calcium, Magnesium, Total hardness | range: Calcium - 10–100 mg/L Ca²⁺, Magnesium - 5–50 mg/L Mg²⁺, Total hardness - 0.2–3.6 mmol/L , Total hardness - 1.25–25.00 °e, Total hardness - 20–350 mg/L CaCO₃; method: Calcium - Phtalein purple, Magnesium - Phtalein purple, Total hardness - Phthalein purple (20a) |
| 1.1.25 | 1 | Test tubes for determination of Carbonate hardness | range: Acid capacity - 0.4–5.4 mmol/L H⁺, Carbonate hardness - 1.25–18.75 °e, Carbonate hardness - 20–270 mg/L CaCO₃; method: Acid capacity - Bromophenol blue, Carbonate hardness - Bromophenol blue (20a) |
| 1.1.26 | 1 | Test tubes for determination of Lead | range: 0.10–5.00 mg/L Pb²⁺; method- Lead - 4 -(2 -Pyridyl -(2) -azo) -esorcine (PAR); (20a) |
| 1.1.27 | 1 | Test tubes for determination of Cyanide | range: Cyanide - 0.02–0.80 mg/L CN⁻; sensitive range (20a) |
| 1.1.28 | 1 | Semi-micro cuvette | 50 mm optical path made from optical glass, for sensitive measuring range (0.02–2.00 mg/L) with tube tests; (1 cell) |
| 1.1.29 | 1 | Colorimetric test kits for determination of Chlorine (free), Chlorine (total) | range Chlorine (free) - 0.05–2.00 mg/L Cl₂ , Chlorine (total) - 0.05–2.00 mg/L Cl₂ (150a) |
| 1.1.30 | 1 | Colorimetric test kits for determination of Chlorine dioxide | range: Chlorine dioxide - 0.20–3.80 mg/L (150a) |
| 1.1.31 | 1 | Colorimetric test kits for determination of Iron | range: Iron - 0.04–2.00 mg/L Fe (100a) |
| 1.1.32 | 1 | Colorimetric test kits for determination of Fluoride | range: 0.1–2.0 mg/L F⁻ (150a) |
| 1.1.33 | 1 | Test tubes for determination of COD | range 5–60 mg/L O₂ (In accordance with ISO 15705); method- Potassium dichromate (150a) |
| 1.1.34 | 1 | Test tubes for determination of COD | range: 15–160 mg/L O₂; (In accordance with ISO 15705); method- Potassium dichromate (150a) |
|  |  | Consumables |  |
| 1.2.1 | 1 | Cuvette holder | Round tubes 16 mm (set) |
| 1.2.2 | 1 | LAN cable | for NANOCOLOR Advance-EN (pcs) |
| 1.2.3 | 1 | Set of calibration cuvette | 4 empty tubes, beaker, 5 mL syringe, 3 batteries, booklet for PF-3 Drinking Water (pcs) |
|  |  | Software |  |
| 1.3.1 | 1 | Software for laboratory analyses | Upgrade software-a for Spectrophotometer in case, NANOCOLOR-Advance-EN (pcs) |
| Delivery services |  |  |  |
| 2.1 | All | Reagents, Consumables, and Software for laboratory analyses | The Provincial Secretariat for Urban Planning and Environmental Protection Bulevar Mihajla Pupina, 16, 21101 Novi Sad |

NOT TO BE FILED IN BEFORE CONTRACT SIGNING NOT TO BE SUBMITTED WITHIN THE OFFER!!!

FORMAT OF THE CONTRACT BETWEEN THE CONTRACTOR AND THE CONTRACTING AUTHORITY

CONTRACT TITLE: Procurement of reagents, consumables, and software for laboratory analyses for project Green-Path

REF: RORS00127-PP2 - TD06

Concluded between:

The Provincial Secretariat for Urban Planning and Environmental Protection

Bulevar Mihajla Pupina, 16, 21101 Novi Sad, Republic of Serbia

Official registration number/VAT number: 08752885 / 100715260

(Contracting Authority)

AND

<Title>

<Address of the contractor>

Official registration number/ VAT number>

(Contractor)

Article 1: Subject of the contract

The subject of the contract is the supplies as indicated in the contractor’s offer – ‘’Part B: Format of offer to be provided by the tenderer’’.

Article 2: Contract value

The total contract value for implementation of delivery of supplies indicated in the Article 1 is: XXX RSD with VAT included.

For all Partners:

In accordance with IPA implementing regulation, for all partner’s VAT can be an eligible expenditure. The Contracting Authority will pay the unit prices, as stated in the Financial Offer, and will pay the VAT if the VAT is eligible and is clearly identified on the invoices.

For this contract VAT is eligible cost.

Article 3: Contracting documents

The documents which form the part of this contract are (by the order of precedence):

- Contract agreement

- Contractor’s offer as provided in the tendering phase – ‘’Part B: Format of offer to be provided by the tenderer’’

- Any other supporting documentation if applicable (* - in case of asking for registration of company or other information)

For any issues not defined in this contract agreement the rules of General conditions will be applied

| C4e | Draft contract : General conditions (Annex I) | https://wikis.ec.europa.eu/download/attachments/44169042/c4e_annexigc_en.pdf |
| --- | --- | --- |

https://wikis.ec.europa.eu/display/ExactExternalWiki/Annexes#Annexes-AnnexesC(Ch.4):Supplies

Article 4: Deliveries and payments

The contractor will deliver without reservation the supplies indicated in the contractor’s offer ‘’Part B: Format of offer to be provided by the tenderer’’. The deliveries will be implemented within the indicated dates.

The Contracting Authority will pay to the contractor the supplies in the amount indicated in the Article 2 of this contract document.

In case the contract is concluded in EURO, and payments are made in National currency, applicable exchange rate must be InforEuro exchange rate for the month of the issuing of invoice or pre-invoice in case of VAT exemption.

The payments will be issued by the following time schedule.

| Month |  | RSD |
| --- | --- | --- |
| 2nd Month | Balance final payment | 100 % Absolute amount |
|  | Total | Total contract value |

Article 5: Duration of the contract

The duration of the contract is 2 months.

Commencement date is the date of the signature of this contract.

Article 6: Resolving of disputes

Any disputes arising out of or relating to this Contract which cannot be settled otherwise shall be referred to the exclusive jurisdiction of the Commercial Court Novi Sad in accordance with the national legislation of the state of the Contracting Authority.

| For the Contractor |  | For the Contracting Authority |  |
| --- | --- | --- | --- |
| Name: |  | Name: |  |
| Title: |  | Title: |  |
| Signature: |  | Signature: |  |
| Date: |  | Date: |  |

The tenderer should have minimum 7 days for supply contract from the date of launching of the procurement procedure for preparation of the offer (excluding the day of publishing and the date of submission deadline).