PART A: INFORMATION FOR THE TENDERER

Name and address of the contracting authority: Health Center in Pancevo, Milosa Obrenovica 2, 26000 Pancevo, Republic of Serbia Title of the tender: Portable ultrasound device with two probes Reference number: RORS00191/DZP/TD7 Date of launching: 23/01/2026

- INFORMATION ON SUBMISSION OF THE TENDERS

Subject of the contract:

The subject of this tender is:

- Provision of supplies as indicated in the technical information in the point 2 of these information;

Deadline for submission of the tenders:

The deadline for submission of tenders is 02/02/2026 at 12:00 hours. Any tender received after this deadline will be automatically rejected.

The Contracting Authority will provide answer to all questions received no latter then 3 days before the deadline and has to publish them on the same web sites where the tender was published. Questions regarding this procedure may be submitted to ivonajapundza9@gmail.com   until 26/01/2026 at 24.00h.

Currency

Tenders must be presented in EUR or RSD with VAT included.

Note:

In accordance with IPA implementing regulation, for all partners VAT can be an eligible expenditure. The Contracting Authority will pay the unit prices, as stated in the Financial Offer, and will pay the VAT if the VAT is eligible and is clearly identified on the invoices.

For this contract VAT is eligible cost.

In case when the offers are submitted in RSD, the exchange rate to be used for checking financial compliance with available budget (during financial evaluation), shall be InforEuro exchange rate for the month when the tender is launched

Award criteria:

- The sole award criterion will be the price. The contract will be awarded to the lowest compliant tender.

In case that one offer is received, the Contracting Authority shall check whether the offer is administratively and technically compliant with the requirements set by this tender documentation and financial offer is within the available budget.

Variant solutions will not be taken into consideration.

Award notification

The successful tenderer will be informed of the results of the evaluation procedure in written form.

Contract award notice will be published on the programme website. The estimated time of communication publishing of results to the tenderers is 7 days after the date of contract signature.

Address and meanings for submission of the tenders:

The tenderers will submit their tenders using the standard submission form available in the “Part B: Format of offer to be provided by the tenderer” of the tender dossier. The tender will be submitted in 1 original. Any tenders not using the prescribed form may be rejected by the contracting authority.

In addition to the offer the tenderer is required to provide the following supporting documentation:

- Copy of legal registration (only if  not publicly available from the Serbian Business Register Agency website)

- Proof of delivery under at least one supply contract involving similar equipment with a value no less than 10.452,00 EUR (with VAT included) delivered in following timeframe: within 5 years prior submission date

The tenders will be submitted in a sealed envelope, containing the following information:

- Name and address of the tenderer

- Title of the tender: Portable ultrasound device with two probes

- Reference number: RORS00191/DZP/TD7

- The words: ‘’Not to be opened before the tender opening session’’ and ‘’Ne otvarati pre sastanka za otvaranje ponuda”

The tenders will be submitted in person, by post or courier service to the following address:

Health Center in Pancevo, Milosa Obrenovica 2, 26000 Pancevo, Republic of Serbia

For: Director

The tenderers are reminded that in order to be eligible the tenders need to be received by the Contracting Authority by the deadline indicated above.

- TECHNICAL INFORMATION

The tenderers are required to provide supplies as indicated below. In the tenderer’s technical offer, the tenderers might indicate more details on the deliveries, including brand names if applicable, referring back to the below table.

| No. | Number of items | Title of item | Technical specifications |
| --- | --- | --- | --- |
| Supplies |  |  |  |
| 1.1. | 1pc | Portable ultrasound device with two probes | Consisting of: 1. Portable portable color Doppler device - Linear probe with specification: - Maximum physical dimensions of the device: - Width: maximum 62.4 mm - Depth: maximum 150 mm - Height: maximum 25.5 mm - Maximum weight 200 g - Linear probe with a minimum frequency range of 3-12 MHz - Field of view (FOV): min. 38.4 mm - Number of probe elements: min. 128 2. Portable portable color Doppler device - Convex probe with specification: - Maximum physical dimensions of the device: - Width: maximum 62.4 mm - Depth: maximum 157 mm - Height: maximum 25 mm - Maximum weight 200 g - Convex probe with a minimum frequency range of 1-6 MHz - Field of View (FOV): minimum 78° - Number of probe elements: min. 128 - Probe radius of curvature: minimum 38.6 mm 3. Tablet with specification - Built-in stereo speakers - Min. 8 TGC controllers - Resolution minimum 1736 X 1824 pixels; - Device OS: Windows 10 or higher and Windows operating system or similar - SSD (Solid State Drive) built into the device - Booting the system for a maximum of 90 seconds - Alphanumeric keyboard - Digital beamforming - ADC: 10 bits - Min. 655,360 device processing channels - The device must support frequencies in the minimum range from 1 to 20 MHz - The device must support convex and linear probes - The device must have a min. the following operating modes: 2D (B), Motion (M), Color flow (CF), Pulse wave Doppler (PWD) - Duplex display min.: B+B, B+PW, B+CF, B+M - Triplex view min.: B+CF+PWD - Image depth display in min. range min. 0 - 30 cm - Dynamic range of the device: min. 190dB - The device must have a one-click image optimization option (Xpeed) or another name for the same function - The device must have a built-in DICOM option - The device must have a built-in virtual convex display option ( Virtual Convex ). - Mandatory image processing functions available in postprocessing . - 2D : Full SRI, TGC, Gain, Dynamic Range, Gray Map - PWD: Angle correction , Automatic calculations, Gray map - Ability to store a minimum of 216,000 images - Possibility of saving pictures and video clips in different formats min. : BMP, JPEG, DICOM, WMV - The device must have a CINE memory of at least 500 MB with the ability to store at least 1500 images - Packages of measurements and calculations that must be included in the device as a minimum: Abdomen, Obstetrics, Fetal Echo, Gynecology, Vascular, Urology, small parts , pediatrics, musculoskeletal |

NOT TO BE FILED IN BEFORE CONTRACT SIGNING NOT TO BE SUBMITTED WITHIN THE OFFER!!!

FORMAT OF THE CONTRACT BETWEEN THE CONTRACTOR AND THE CONTRACTING AUTHORITY

CONTRACT TITLE: Portable ultrasound device with two probes

REF: RORS00191/DZP/TD7

Concluded between:

Health Center in Pancevo,

Milosa Obrenovica 2, 26000 Pancevo,

Republic of Serbia

(Contracting Authority)

AND

<Title>

<Address of the contractor>

Official registration number/ VAT number>

(Contractor)

Article 1: Subject of the contract

The subject of the contract is the supplies as indicated in the contractor’s offer – ‘’Part B: Format of offer to be provided by the tenderer’’.

Article 2: Contract value

The total contract value for implementation of delivery of supplies indicated in the Article 1 is: <XXX EUR/RSD> with VAT included.

In accordance with IPA implementing regulation, for all partners VAT can be an eligible expenditure. The Contracting Authority will pay the unit prices, as stated in the Financial Offer, and will pay the VAT if the VAT is eligible and is clearly identified on the invoices.

For this contract VAT is eligible cost.

Article 3: Contracting documents

The documents which form the part of this contract are (by the order of precedence):

- Contract agreement

- Contractor’s offer as provided in the tendering phase – ‘’Part B: Format of offer to be provided by the tenderer’’

- Any other supporting documentation if applicable

For any issues not defined in this contract agreement the rules of General conditions will be applied

| C4e | Draft contract : General conditions (Annex I) | https://wikis.ec.europa.eu/download/attachments/44169042/c4e_annexigc_en.pdf |
| --- | --- | --- |

https://wikis.ec.europa.eu/display/ExactExternalWiki/Annexes#Annexes-AnnexesC(Ch.4):Supplies

Article 4: Deliveries and payments

The contractor will deliver without reservation the supplies indicated in the contractor’s offer ‘’Part B: Format of offer to be provided by the tenderer’’. The deliveries will be implemented within the indicated dates.

The Contracting Authority will pay to the contractor the supplies in the amount indicated in the Article 2 of this contract document.

In case the contract is concluded in EURO, and payments are made in RSD, applicable exchange rate must be InforEuro exchange rate for the month of the issuing of invoice.

The payments will be issued by the following time schedule.

| Month |  | <EUR/RSD> |
| --- | --- | --- |
| 3 | Balance final payment | < 100 % of the contract value / Absolute amount > |
|  | Total | <Total contract value> |

Article 5: Duration of the contract

The duration of the contract is 3 months.

Commencement date is date of signature of contract by both parties.

Article 6: Resolving of disputes

Any disputes arising out of or relating to this Contract which cannot be settled otherwise shall be referred to the exclusive jurisdiction of relevant Serbian Court of Law in accordance with the national legislation of the state of the Contracting Authority.

| For the Contractor |  | For the Contracting Authority |  |
| --- | --- | --- | --- |
| Name: |  | Name: |  |
| Title: |  | Title: |  |
| Signature: |  | Signature: |  |
| Date: |  | Date: |  |