VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions:

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Item | Description | Unit | Unit price EUR without VAT | Firm quantities | Lump-sum price EUR without VAT |
| --- | --- | --- | --- | --- | --- |
| ELECTRICAL INSTALLATIONS | Power cable installed in metal protective conduit for connection of motors, switchboards, and equipment, with conductor cross-section < 16 mm² | m |  | 100.00 |  |
|  | CYY power cable 0.6/1 kV, 1 × 16 mm² | m |  | 100.00 |  |
|  | Power cable installed in metal protective conduit for the connection of motors, switchboards, and equipment, with conductor cross-section less than 16 mm² | m |  | 2230.00 |  |
|  | CYY-F cable 3 × 1.5 mm² | m |  | 1000.00 |  |
|  | CYY-F cable 3 × 2.5 mm² | m |  | 900.00 |  |
|  | CYY-F electrical cable 3 × 4 mm² | m |  | 50.00 |  |
|  | NHXH E90 cable 4 × 1.5 mm² | m |  | 200.00 |  |
|  | CYABY-F cable 5 × 25 mm² | m |  | 80.00 |  |
|  | Power cable installed in metal protective conduit for the connection of motors, switchboards, and equipment, with conductor cross-section less than 16 mm² | m |  | 600.00 |  |
|  | UTP Cat. 6E cable, ARC NET, 305 m/coil | m |  | 612.00 |  |
|  | Cable trays – structural components, cables and fixing clamps, including cover plates | m |  | 2930.00 |  |
|  | Fire-resistant corrugated conduit (COPEX Courbi), 20 mm | m |  | 1100.00 |  |
|  | Light-duty black PVC fire-retardant flexible conduit (COPEX) with draw wire, Ø25 mm (25 m coil) | m |  | 1150.00 |  |
|  | Fire-retardant corrugated conduit (COPEX Courbi), Ø16 mm | m |  | 600.00 |  |
|  | Double-wall corrugated PVC protective conduit, DN 75 mm | m |  | 80.00 |  |
|  | Dry-type end termination for metered power cable | pcs. |  | 2100.00 |  |
|  | Copper conductor terminal ends for various cross-sections (1.5 mm², 2.5 mm², 6 mm²) | pcs. |  | 2100.00 |  |
|  | Flush-mounted single-pole manual switch, standard or waterproof type | pcs. |  | 6.00 |  |
|  | Single switch, 1-module, 10 A | pcs. |  | 6.00 |  |
|  | Flush-mounted socket outlet, standard or waterproof type, with protective contact | pcs. |  | 30.00 |  |
|  | Single socket outlet | pcs. |  | 30.00 |  |
|  | Explosion-proof junction box for cables or installation pipes, 1½–4 inches | pcs. |  | 36.00 |  |
|  | Modular boxes for 1, 2, 3, 4, 5, and 6 modules, including support frame and cover frame | pcs. |  | 36.00 |  |
|  | Junction box for cables or installation conduits – NBU PG 16 | pcs. |  | 10.00 |  |
|  | Junction box for cables, 100 × 100 × 55 mm, IP55 | pcs. |  | 10.00 |  |
|  | Lighting fixture for tubular fluorescent lamps, watertight type, mounted on wooden plugs | pcs. |  | 22.00 |  |
|  | LED panel light fitting 600 × 600 mm, 4,413 lm | pcs. |  | 18.00 |  |
|  | Bulkhead-type emergency luminaire for escape route lighting, equipped with 2 W LED module, IP40, 2-hour autonomy, CISA 04 LED type or equivalent | pcs. |  | 4.00 |  |
|  | Special monoblock lighting fixture for safety lighting with battery, mounted with metal anchors | pcs. |  | 5.00 |  |
|  | Bulkhead-type emergency luminaire for escape route lighting, equipped with 2 W LED module, IP40 rating, 2-hour autonomy, CISA 04 LED type or equivalent | pcs. |  | 5.00 |  |
|  | Separation piece and connection piece for lightning protection installation or earthing system | pcs. |  | 1.00 |  |
|  | Earth electrode separation joint | pcs. |  | 1.00 |  |
|  | Box with bonding clamp for earthing ring conductor | pcs. |  | 1.00 |  |
|  | Box with bonding clamp for CES-1 type main earthing terminal | pcs. |  | 1.00 |  |
|  | Electrical distribution board on metal frame with front cover, wall-mounted or recessed, panel surface area 0.91–1.50 m² | pcs. |  | 1.00 |  |
|  | TE electrical panel, in accordance with the single-line diagram | pcs. |  | 1.00 |  |
|  | ATC01A [1] Rack installation | pcs. |  | 1.00 |  |
|  | Low-current panel (9 racks), fully equipped | pcs. |  | 1.00 |  |
|  | Testing of the distribution, control, protection and signalling panel, including the control desk and terminal box, panel made of enclosed boxes | pcs. |  | 2.00 |  |
|  | Testing of the earthing electrode for one grounding point | pcs. |  | 1.00 |  |
|  | Openings in ½-brick masonry with lime mortar and cement addition, holes for conduits 50–400 cm² | pcs. |  | 30.00 |  |
|  | Filling of holes in masonry with cement-lime mortar | pcs. |  | 30.00 |  |
|  | Execution of chases with cross-section under 30 cm² in concrete or stone masonry | m |  | 400.00 |  |
|  | Filling of chases in masonry with gypsum mortar, chase cross-section 20–30 cm² | m |  | 400.00 |  |
|  | Inter-phase transport or transport of materials from storage to the workplace by trolley or wheelbarrow over a distance of 51–100 m, on load capacity | kg |  | 600.00 |  |
|  | Testing of electrical power cables up to 1 kV | pcs. |  | 25.00 |  |
|  | Testing and electrical verification of switches, automatic contacts, circuit breakers (<100 A), actuating devices and rheostats | pcs. |  | 25.00 |  |
|  | Electrical connection between terminal blocks and equipment, or between equipment, using conductor length 0.51–1.5 m | pcs. |  | 25.00 |  |
|  | Loading of materials, Group A (heavy and small items), by manual handling up to 10 m, onto ramp or ground – per vehicle | t |  | 5.00 |  |
|  | Unloading of materials, Group A – light and small items, by manual handling up to 10 m, from vehicle to ramp or ground – per vehicle | t |  | 5.00 |  |
|  | Transport of materials by direct carrying, convenient items under 25 kg, over a distance of 50 m | t |  | 5.00 |  |
|  | Transport of materials by pneumatic wheelbarrow, including loading, unloading and placing, Groups 1–3, distance 50 m | t |  | 5.00 |  |
|  | Road transport of materials and semi-finished products by dump truck over a distance of 10 km | t |  | 5.00 |  |
| ARHITECTURE | Dismantling of wooden doors and windows | m2 |  | 57.420 |  |
|  | Removal of parquet flooring laid on blind boarding, including the boarding, with material recovery | m2 |  | 197.00 |  |
|  | Removal of standard interior or exterior plaster from walls | m2 |  | 586.00 |  |
|  | Manual demolition of plain and reinforced concrete elements with cement content over 150 kg/m³ | m3 |  | 3.00 |  |
|  | Demolition of brick partition walls (brick on edge), area under 10 m² | m2 |  | 5.00 |  |
|  | Base layer for flooring made of M100-T cement mortar, 3 cm thickness | m2 |  | 185.00 |  |
|  | Masonry mortar M100 S 1030 | m3 |  | 14.040 |  |
|  | Floor base layer made of 3 cm gypsum screed plus 2 cm self-leveling screed | m2 |  | 185.00 |  |
|  | Execution of ceramic tile flooring, bonded with adhesive and finished with grout joints | m2 |  | 63.50 |  |
|  | Indoor ceramic floor tiles | m2 |  | 65.405 |  |
|  | Ceramic tile skirting | m |  | 73.973 |  |
|  | Smooth white unglazed ceramic tile accessories, 150 × 100 × 8 mm, C1, code S5939 | m |  | 75.452 |  |
|  | Execution of heavy-duty engineered wood flooring for high-traffic areas | m2 |  | 121.50 |  |
|  | Engineered parquet flooring | m2 |  | 125.145 |  |
|  | PVC skirting boards installed horizontally along walls, area > 20 m² | m |  | 77.809 |  |
|  | Parquet skirting boards | m |  | 79.365 |  |
|  | Haulage of materials and semi-finished goods by tipper truck, transport distance 10 km | t |  | 30.00 |  |
|  | 1 cm thick interior plaster, trowel-finished, manually applied to walls or columns, using M25-T mortar for the bonding coat (spritz) and M10-T for the base and finish coats on flat surfaces | m2 |  | 502.480 |  |
|  | Masonry mortar M25, sand-based, S 1030 | m3 |  | 3.865 |  |
|  | Masonry mortar M50, S 1030 | m3 |  | 2.512 |  |
|  | Float-finished interior plaster on flat ceilings, average thickness 2 cm | m2 |  | 185.00 |  |
|  | Masonry mortar M25, sand-based, S 1030 | m3 |  | 3.70 |  |
|  | Interior skim coat applied on lime-cement plaster | m2 |  | 687.48 |  |
|  | Interior painting with DEKO washable paint, one coat applied manually, including one coat of DEKO primer (dilution 1:4) and one coat of DEKO paint, applied on new, low-absorbency interior surfaces | m2 |  | 687.48 |  |
|  | Wall cladding with tiles of the same colour and shape | m2 |  | 36.740 |  |
|  | White ceramic wall tiles | m2 |  | 38.577 |  |
|  | Single, double or coupled timber windows, with one or more sashes, frame area 1.00–2.50 m², for buildings with height ≤ 35 m | m2 |  | 28.890 |  |
|  | Engineered timber windows with double glazing | m2 |  | 28.890 |  |
|  | Conical head nails, type A1, 1.8 × 35 mm, steel grade OL34, S 2111 | kg |  | 1.733 |  |
|  | Single-leaf interior wooden doors mounted on frames (linings) | m2 |  | 22.460 |  |
|  | Double-leaf engineered timber doors | m2 |  | 22.460 |  |
|  | Metal glazed partitions made of door leaves | m2 |  | 5.700 |  |
|  | Aluminium profile doors, GOLD 600 type | m2 |  | 5.700 |  |
|  | Sills or trims installed at doors or windows | m |  | 15.30 |  |
|  | Exterior window sills, 1.1 m | pcs. |  | 15.30 |  |
|  | Exterior window sills, 1.5 m | pcs. |  | 15.30 |  |
|  | HPL sanitary partition walls, 28 mm thickness, with aluminium frame | m2 |  | 14.476 |  |
|  | Road transport of materials and semi-finished products by dump truck over a distance of 10 km | t |  | 12.50 |  |
| SANITARY INSTALATION | Installation of PVC-U sewer pipe, exposed in niche, underground or ceiling-suspended, DN 40 mm | m |  | 25.00 |  |
|  | Installation of PVC-U sewer pipe, exposed in niche, underground or ceiling-suspended, DN 110 mm | m |  | 56.00 |  |
|  | PVC-U elbows for drainage, solvent-weld joint, 45°, 67½°, 87½°, diameter 110 mm | pcs. |  | 23.00 |  |
|  | PVC U-type elbow, 45°, DN 110, NII 2167 | pcs. |  | 23.00 |  |
|  | PVC-U elbows for drainage, solvent-weld joint, 45°, 67½°, 87½°, diameter 40 mm | pcs. |  | 44.00 |  |
|  | PVC U-type elbow, 45°, DN 40, NII 2167 | pcs. |  | 44.00 |  |
|  | PVC-U eccentric reducer for drainage, solvent-weld joint, diameter 110–50 mm | pcs. |  | 12.00 |  |
|  | Sanitary porcelain toilet bowl with internal S-trap | pcs. |  | 4.00 |  |
|  | COL2-A white porcelain toilet bowl, quality class 1, S 2066 | pcs. |  | 4.00 |  |
|  | Flexible hose | pcs. |  | 4.00 |  |
|  | Installation of R2 type sanitary porcelain WC flush tank, semi-high level installation, secured with metal anchors | pcs. |  | 4.00 |  |
|  | Toilet seat made of polypropylene, with cover | pcs. |  | 4.00 |  |
|  | Sanitary porcelain washbasin, mounted on brackets fixed with metal anchors | pcs. |  | 2.00 |  |
|  | Washbasin with base cabinet (vanity unit) | pcs. |  | 2.00 |  |
|  | Flexible extendable hose for washbasin trap, length 380–865 mm, Ø40 × 1½" | pcs. |  | 2.00 |  |
|  | Stainless steel sink with 1 bowl and drainer, 1000 × 700 × 800 mm | pcs. |  | 1.00 |  |
|  | Metal sink with bowl and countertop | pcs. |  | 1.00 |  |
|  | Flexible extendable hose for washbasin trap, length 380–865 mm, Ø40 × 1½" | pcs. |  | 1.00 |  |
|  | Cast iron or brass pipe trap for sanitary porcelain washbasin | pcs. |  | 3.00 |  |
|  | Bottle trap for washbasin, brass, 1¼", S 9611 | pcs. |  | 3.00 |  |
|  | Drain valve | pcs. |  | 3.00 |  |
|  | Washbasin/sink drain valve, 1", with connector, S9610 | pcs. |  | 3.00 |  |
|  | Straight-through valve with unions, for steel pipes, diameter 1/2" or 3/8" | pcs. |  | 15.00 |  |
|  | Chrome-plated brass washbasin mixer tap, 1/2", star handle, deck-mounted, S2581 | pcs. |  | 15.00 |  |
|  | Deck-mounted mixer tap for washbasin, 1/2" connection | pcs. |  | 3.00 |  |
|  | Enamelled cast iron washbasin mixer tap, 1/2", with jet aerator, S8732 | pcs. |  | 2.00 |  |
|  | Sink mixer tap, model 8004C | pcs. |  | 1.00 |  |
|  | Lead P-trap, diameter 50 mm | pcs. |  | 3.00 |  |
|  | Sanitary semi-crystal mirror with polished edges, dimensions 400 × 500 mm | pcs. |  | 2.00 |  |
|  | Straight-through valve with unions for steel pipes, 1/2" or 3/8" diameter | pcs. |  | 7.00 |  |
|  | NILE ball valve, female–female (F–F), with lever handle, 1/2" | pcs. |  | 7.00 |  |
|  | Toilet paper holder, quality class 1, made of sanitary porcelain, HA1 NI 545/63 | pcs. |  | 4.00 |  |
|  | Hand dryer or automatic liquid soap dispenser, wall-mounted on brick or AAC (aerated concrete) wall | pcs. |  | 2.00 |  |
|  | Metal hand dryer, 2300 W | pcs. |  | 2.00 |  |
|  | Plastic pipe (PP, PE, PP-R), joined by polyfusion welding, in industrial buildings, Ø20 mm | m |  | 45.00 |  |
|  | PN 20 cross-linked polypropylene pipe with aluminium insert, diameter 20 mm | m |  | 45.90 |  |
|  | 90° elbow, internal–external thread (white PPR), Ø20 mm | pcs. |  | 24.00 |  |
|  | Coupling sleeve (white PPR), Ø20 mm | pcs. |  | 6.00 |  |
|  | PPR female threaded adapter, Ø20 mm × 1/2" F | pcs. |  | 15.00 |  |
|  | Plastic pipe (PP, PE, PP-R), joined by polyfusion welding, in industrial buildings, Ø25 mm | m |  | 12.00 |  |
|  | PN 16 cross-linked polypropylene pipe, diameter 25 mm | m |  | 12.240 |  |
|  | Equal PPR tee, Ø25 mm | pcs. |  | 12.00 |  |
|  | PPR reducer, 25–20 mm | pcs. |  | 12.00 |  |
|  | Total lump-sum price |  |  |  |  |
|  | VAT |  |  |  |  |